|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **ESTIMATE FOR AC** | | | | | | |
|  | | **FOR PUNJAB GRAMIN BANK, MOHALI** | | | | |
| **S.N** | **Descriptions of items** | **Qty** | **Unit** | **Rate** | **Amount** |
| 1. | **NEW AC SPLIT (1.5 TON)** | 4 | Nos |  |  |
|  | Supply and fixing new AC with stabilizer and stand complete in all respect. |  |  |  |  |
|  | **TOTAL** |  |  |  |  |
|  | **NOTE** |  |  |  |  |
|  | **AC :Panasonic, Voltas , Lloyd, Carrier- 3 star, 100% copper, 4KVA** | | | | |
|  | **Stabilizer :Digital 100% copper 150 plus** | | | | |